

Dynamic Stair Trainer 8000 - Triple Pro

All-in-one physical therapy machine

|  |  |  |
| --- | --- | --- |
| Versatility for EmpowermentDST8000 Triple Pro combines three devices in one, including an adjustable staircase for walking up and down steps, a walking surface Inclined at different angles, and a full horizontal parallel bar. The unit’s sleek versatile design simulates everyday urban terrain – enabling patients to train and practice different slopes, stairs and gaits without changing equipment.Easy to Adjust and ControlWith a click of a button, therapists can adjust the degree of the slope and the height of the stairs. Patients benefits from an optimal training regimen, leading to improved performance in less time and efforts. |   | TriplePro1TriplePro2 |
| The 3-in-1 Unit measures, displays and documents all treatment sessions, including:* Time it takes to walk across parallel bar
* Stairs height and time it takes to climb
* Slope degree and time it takes to walk
 |

|  |
| --- |
| Specification: |
|

|  |  |
| --- | --- |
| Model: | 8000-Triple-Pro |
| Flat walking surface: | 3 Meter (9.8 ft.) |
| Total/Handrails length: | 3.6 Meter (11.8 ft.) |
| Total width: | 1.6 Meter (5.2 ft.) |
| Stairs/slope width: | 65 cm (25.6 in.) |
| Slope angle range: | 0 to 26 degrees |
| Stairs height: | 0 to 16.5 cm (0 to 6.5 in.) |
| Handrails height range: | 65-93 cm (25.6-36.6 in.) |
| Maximum load: | 200 Kg (440 lb.) |
| Unit weight: | 270 Kg (594 lb.) |
| Electrical requirements: | 100-240V, 50/60Hz, 4A max |
| Operating interval: | 2 min on / 18 min off |
| Worldwide patent; Color, design and spec’ may vary |

 |   |